主标题：AC LED flexible strip, Flicker-free Ultrabright series

次标题：AC230V LED Strip light,SMD2835 120LEDs/m 13.5*6mm

- Product descriptions

- Super clear PVC extrusion make it looks very brilliant and more attractive,

- LM-80 approved LED of the premium quality with high brightness,

- Premium quality flexible PCB layer assure good heat dissipation, electrical safety and longer maximum length per input,

- Resistant against water, UV radiation, chemicals and abrasion.

- Safe and simple connection system for easy on-site installation after cutting

- Estimated lifetime L70 at Ta25 o C:＞40000h.

2. Product features

◆  120°wide beam angle

◆  Available in homogeneous white tones,start from 2400K till 12000K

◆  a variety of light color come in red,blue,green,Pink,yellow etc

◆  longer connection length per input of up to 50m

◆  Premium light quality, offer CRI up to Ra90

◆  IP65 rated and for damp or wet locations use

◆  flicker-free driver is optional

3. Product Size

4. Product Technical data

| LED Type: | SMD2835 |
| --- | --- |
| LED Spec: | 24-26lm |
| LED Qty/m: | 120LEDs/m |
| Cutting intervals: | 1000mm |
| Overall size: | W(13.5mm)*H(6mm) |
| Input Voltage(V): | AC230V |
| Dimmable(Y/N): | N/A |
| Standard Driver type: | Flicker-free driver, IP65,PF≥0.5 |
| Optional driver type: | Flicker-free driver,IP20,PF≥0.9 |
| Length /Reel: | 25m/Reel,50m/Reel; |
| FPC board Spec: | 9.2mm wide |
| IP Rating: | IP65,IP67 |
| Storage temperature: | -40 o C to +80 o C |
| Operating temperature: | -20 o C to +45 o C |

- Product Spec sheet

| Item no. | Input Voltage(V) | LED Qty/m | Typ.Light color | Typ.color temp. | Typ. power | Typ.Lumen/Meter | Typ.CRI | Cutting Intervals | Maximum run length |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AH-W2835-120-27-## | AC230V | 120LEDs/m | warm white | 2700K | 8W/m | 540LM/M | 80+ | 1m | 50m |
| AH-W2835-120-30-## | AC230V | 120LEDs/m | warm white | 3000K | 8W/m | 566LM/M | 80+ | 1m | 50m |
| AH-W2835-120-40-## | AC230V | 120LEDs/m | Neutral white | 4000K | 8W/m | 650LM/M | 80+ | 1m | 50m |
| AH-W2835-120-65-## | AC230V | 120LEDs/m | Daylight white | 6500K | 8W/m | 680LM/M | 80+ | 1m | 50m |

- --The symbol ## represents the length of LED strips(Unit:m)

- --due to unavoidable LED package, electrical component and other machine tolerances, normal input power and lumen tolerance(±10%）exist;

- Suitable Accessories

AC230V,400W,PF≥0.5,IP65

AC230V,350W,PF≥0.9,IP65

- 7. Installation type